## Building Types _ Constr years
Classification | U-wall | U_widnows | U-ground | U_roof | A_roof | WWR_N | WWR_S | WWR_V | WWR_O | Floor height_Basement | Floor height_Ground | Floor height_Typical | Floor height_Acttic | Average floor height | Ratio of Crawl Space | Ratio of Basement | Uwall_base_under ground | Uwall_base_above ground
F_60_AnnanVilken | 0.636 | 2.283 | 0.3474 | 0.41229 | 782.375 | 0.42049 | 0.36586 | 0.29223 | 0.25234 | 2.44 | 2.8122 | 2.8375 | 2.475 | 2.6412 | 0.1 | 0.9 | 0.74389 | 1.8687
F_60_Flerbostadsvilla | 0.32794 | 2.1522 | 0.45372 | 0.35109 | 191.625 | 0.15661 | 0.18357 | 0.1915 | 0.15949 | 2.3371 | 2.5778 | 2.5406 | 2.2833 | 2.4347 | 0.27778 | 0.94444 | 0.79713 | 1.8818
F_60_Lamellhus | 0.57475 | 2.1573 | 0.35952 | 0.45237 | 539 | 0.17617 | 0.24195 | 0.20087 | 0.20225 | 2.3347 | 2.5982 | 2.598 | 2.5 | 2.5077 | 0.11538 | 0.90385 | 0.87072 | 1.7277
F_60_Loftgångshus | 0.918 | 2.5 | 0.412 | 0.19062 | 335 | 0.058824 | 0 | 0.19283 | 0.15263 | 2.3 | 2.5 |  |  | 2.4 | 0 | 1 | 0.572 | 1.071
F_60_Punkthus | 0.59157 | 2.1507 | 0.4525 | 0.48884 | 310.3846 | 0.25057 | 0.26573 | 0.2555 | 0.25479 | 2.3623 | 2.5943 | 2.5475 | 2.45 | 2.4885 | 0.071429 | 0.92857 | 0.96385 | 1.9083
F_60_Radhus | 0.782 | 2.5 | 0.163 |  |  | 0.13873 | 0.28049 | 0 | 0 | 2.2 | 2.6 | 2.4 |  | 2.4 | 0 | 1 | 0.146 | 0.199
F_60_Skivhus | 0.62987 | 2.2125 | 0.33813 | 0.50309 | 645.5333 | 0.27603 | 0.26892 | 0.31994 | 0.26134 | 2.1719 | 2.87 | 2.7269 | 2.36 | 2.5322 | 0.0625 | 1 | 1.0158 | 1.8479
F_61_75_AnnanVilken | 1.531 | 2.43 | 0.61 | 0.168 | 329 | 0.11039 | 0.51724 | 0.28235 | 0.28235 |  | 2.5 | 2.5 |  | 2.5 | 1 | 0
F_61_75_Flerbostadsvilla | 0.28533 | 2.5 | 0.32033 | 0.28383 | 458 | 0.1769 | 0.21667 | 0.23129 | 0.22105 | 2.2 | 2.4333 | 2.4333 | 2.2667 | 2.3333 | 0 | 0.33333 | 1.232 | 2.97
F_61_75_Lamellhus | 0.38347 | 2.2041 | 0.27522 | 0.23237 | 773.3182 | 0.19045 | 0.24445 | 0.29468 | 0.2737 | 2.4119 | 2.4967 | 2.4932 | 2.44 | 2.4605 | 0.054945 | 0.7033 | 0.80053 | 1.5659
F_61_75_Loftgångshus | 0.48967 | 2.1425 | 0.31342 | 0.18787 | 488.7778 | 0.19287 | 0.26365 | 0.20305 | 0.089055 | 2.4671 | 2.5083 | 2.4825 |  | 2.486 | 0.33333 | 0.58333 | 0.7725 | 1.798
F_61_75_Punkthus | 0.44807 | 2.1786 | 0.38093 | 0.28514 | 458.75 | 0.18167 | 0.29396 | 0.41625 | 0.34572 | 2.5309 | 2.5214 | 2.52 | 3 | 2.6431 | 0 | 0.78571 | 0.81211 | 1.5362
F_61_75_Radhus | 0.274 | 2.5 | 0.1925 | 0.19931 | 444.5 | 0.13793 | 0.26543 | 0.32386 | 0.21795 | 2.3 | 2.4 |  |  | 2.35 | 0 | 0.5 | 0.85 | 2.97
F_61_75_Skivhus | 0.46395 | 2.18 | 0.3145 | 0.37785 | 910.6571 | 0.18643 | 0.26138 | 0.37123 | 0.29224 | 2.4237 | 2.4811 | 2.4819 | 2.4413 | 2.457 | 0.052632 | 0.92105 | 0.74744 | 1.6063
F_76_85_AnnanVilken | 0.19473 | 1.8545 | 0.29309 | 0.18087 | 574.0909 | 0.23897 | 0.25664 | 0.21849 | 0.17936 | 2.525 | 2.4636 | 2.4111 | 2.5 | 2.4749 | 0.090909 | 0.27273 | 0.188 | 0.24533
F_76_85_Flerbostadsvilla | 0.2934 | 1.96 | 0.2574 | 0.22346 | 309.25 | 0.20195 | 0.22753 | 0.081884 | 0.062785 | 2.3 | 2.44 | 2.45 |  | 2.3967 | 0.4 | 0.2 | 0.321 | 0.523
F_76_85_Lamellhus | 0.25725 | 2.0167 | 0.31992 | 0.19721 | 437.2174 | 0.12828 | 0.17476 | 0.23867 | 0.23308 | 2.3444 | 2.4467 | 2.4335 | 2.3667 | 2.3978 | 0 | 0.375 | 0.82222 | 1.8269
F_76_85_Loftgångshus | 0.25975 | 2.0725 | 0.338 | 0.23006 | 604.3333 | 0.15951 | 0.16845 | 0.14937 | 0.14043 | 2.4 | 2.5087 | 2.442 | 2.6667 | 2.5043 | 0.125 | 0.375 | 0.3662 | 0.5582
F_76_85_Punkthus | 0.27609 | 2.1282 | 0.35018 | 0.2021 | 522.8182 | 0.20011 | 0.30042 | 0.20032 | 0.20254 | 2.39 | 2.5591 | 2.4533 | 2.4 | 2.4506 | 0 | 0.81818 | 0.307 | 0.40237
F_76_85_Radhus | 0.277 | 1.9 | 0.25533 | 0.19462 | 332 | 0.093391 | 0.26631 | 0.10743 | 0.1038 |  | 2.4117 | 2.3333 |  | 2.3725 | 0 | 0
F_76_85_Skivhus | 0.37133 | 2.041 | 0.25171 | 0.33547 | 1314.65 | 0.26643 | 0.35121 | 0.56252 | 0.52854 | 2.5025 | 2.4976 | 2.4816 | 2.3833 | 2.4663 | 0 | 0.7619 | 0.56537 | 1.1796
F_86_95_AnnanVilken | 0.20769 | 1.8692 | 0.24673 | 0.1501 | 566.5385 | 0.1569 | 0.19112 | 0.26338 | 0.27002 | 2.392 | 2.4438 | 2.4225 | 2.4 | 2.4146 | 0.076923 | 0.69231 | 0.603 | 1.3266
F_86_95_Flerbostadsvilla | 0.24813 | 1.9538 | 0.35075 | 0.19487 | 466 | 0.24468 | 0.27344 | 0.25176 | 0.21555 | 2.4 | 2.4275 | 2.4367 |  | 2.4214 | 0 | 0.25 | 0.709 | 1.675
F_86_95_Lamellhus | 0.19367 | 1.8815 | 0.23615 | 0.16659 | 678.9231 | 0.17312 | 0.25328 | 0.30764 | 0.23822 | 2.373 | 2.4592 | 2.4208 | 2.35 | 2.4008 | 0.037037 | 0.7037 | 0.50344 | 1.0537
F_86_95_Loftgångshus | 0.20923 | 1.9485 | 0.29431 | 0.16064 | 426.0769 | 0.16981 | 0.29422 | 0.22791 | 0.21669 | 2.378 | 2.3954 | 2.3955 | 2.4 | 2.3922 | 0.076923 | 0.76923 | 0.5729 | 1.3659
F_86_95_Punkthus | 0.22007 | 1.9143 | 0.26293 | 0.15048 | 341 | 0.18072 | 0.30365 | 0.26778 | 0.1954 | 2.45 | 2.5071 | 2.4992 | 2.4 | 2.4641 | 0 | 0.42857 | 0.29783 | 0.56817
F_86_95_Radhus | 0.216 | 1.9333 | 0.285 | 0.15331 | 312.3333 | 0.17538 | 0.16705 | 0.12164 | 0.13855 |  | 2.4 | 2.37 |  | 2.385 | 0 | 0
F_86_95_Skivhus | 0.21175 | 1.8681 | 0.23794 | 0.13865 | 724.75 | 0.30017 | 0.24918 | 0.30467 | 0.34831 | 2.66 | 2.4787 | 2.4 | 2.275 | 2.4534 | 0.0625 | 0.625 | 0.2472 | 0.3969
F_96_05_AnnanVilken | 0.1955 | 1.7025 | 0.26875 | 0.14062 | 472.5 | 0.11924 | 0.2827 | 0.44013 | 0.49483 | 3 | 2.525 | 2.525 |  | 2.6833 | 0 | 0.5 | 0.278 | 0.4345
F_96_05_Flerbostadsvilla | 0.18429 | 2.1429 | 0.33843 | 0.13033 | 204.7143 | 0.42458 | 0.42587 | 0.42272 | 0.46458 |  | 2.44 | 2.44 | 2.4 | 2.4267 | 0.14286 | 0
F_96_05_Lamellhus | 0.19669 | 1.925 | 0.24331 | 0.13683 | 459.5714 | 0.27083 | 0.32724 | 0.24555 | 0.2513 | 2.5 | 2.5406 | 2.5557 | 2.4 | 2.4991 | 0.0625 | 0.4375 | 0.44 | 0.96983
F_96_05_Loftgångshus | 0.27514 | 1.7186 | 0.28371 | 0.13172 | 343.1667 | 0.20877 | 0.27725 | 0.29086 | 0.71441 | 2.35 | 2.5571 | 2.575 | 2.1 | 2.3955 | 0 | 0.42857 | 0.77867 | 2.0573
F_96_05_Punkthus | 0.22391 | 1.8409 | 0.24909 | 0.19285 | 407.8 | 0.20428 | 0.24756 | 0.28257 | 0.34486 | 2.628 | 2.5139 | 2.4822 | 2.55 | 2.5435 | 0.043478 | 0.43478 | 0.2147 | 0.3134
F_96_05_Radhus | 0.1515 | 2 | 0.121 | 0.11001 | 265 | 0 | 0 | 0.37966 | 0.13837 |  | 2.4 | 2.4 |  | 2.4 | 0 | 0
F_96_05_Skivhus | 0.16552 | 1.9912 | 0.18958 | 0.13326 | 885.5652 | 0.26078 | 0.43668 | 0.47551 | 0.38054 | 2.5143 | 2.6026 | 2.5165 | 2.5 | 2.5334 | 0.04 | 0.84 | 0.31115 | 0.55495

## Construction year
Classification | U-wall | U_widnows | U-ground | U_roof | A_roof | WWR_N | WWR_S | WWR_V | WWR_O | Floor height_Basement | Floor height_Ground | Floor height_Typical | Floor height_Acttic | Average floor height | Ratio of Crawl Space | Ratio of Basement | Uwall_base_under ground | Uwall_base_above ground
F_60 | 0.55545 | 2.1809 | 0.38086 | 0.44269 | 487.11 | 0.20947 | 0.24446 | 0.22538 | 0.21021 | 2.3221 | 2.6485 | 2.6175 | 2.4135 | 2.5004 | 0.125 | 0.92857 | 0.8719 | 1.7841
F_61_75 | 0.41994 | 2.2022 | 0.29842 | 0.26803 | 749.4733 | 0.18743 | 0.2553 | 0.31576 | 0.27157 | 2.4264 | 2.4937 | 2.4903 | 2.4429 | 2.4634 | 0.074534 | 0.73913 | 0.78846 | 1.6121
F_76_85 | 0.28123 | 2.0152 | 0.30071 | 0.233 | 674.5444 | 0.18521 | 0.24381 | 0.26212 | 0.24655 | 2.437 | 2.4809 | 2.443 | 2.45 | 2.4527 | 0.053191 | 0.46809 | 0.51471 | 1.0139
F_86_95 | 0.21012 | 1.8995 | 0.26158 | 0.15831 | 557.0652 | 0.19679 | 0.25644 | 0.27112 | 0.24373 | 2.4358 | 2.4541 | 2.4275 | 2.3455 | 2.4157 | 0.042553 | 0.59574 | 0.46958 | 1.0035
F_96_05 | 0.19924 | 1.9138 | 0.23896 | 0.14898 | 537.7632 | 0.24338 | 0.33087 | 0.35368 | 0.38066 | 2.5484 | 2.5391 | 2.5101 | 2.4556 | 2.5133 | 0.047619 | 0.5119 | 0.33907 | 0.65829